## Slide 1: LifeboatCache on vLLM: agentic KV-cache offload on 4x RTX PRO 6000
Qwen3-235B-A22B across four GPUs, real agent sessions, 32 to 128 concurrent agents
October 2026

## Slide 2: At 64 agents, LifeboatCache cuts time to first token 2.9x
2.9x
faster time to first token
9.1 s vs 26.7 s with vLLM alone
2.3x
output tokens per second
219 vs 94 tok/s with vLLM alone
+48%
throughput vs vLLM + LMCache
same 128 GB of DRAM: 219 vs 148 tok/s
On a 235-billion-parameter model the GPUs hold only about ten long agent sessions at once. LifeboatCache keeps the rest in host DRAM and local NVMe, so a returning agent is served from cache instead of being recomputed.
At 128 agents the gap widens: 208 tok/s against 70 for vLLM alone, 3.0x.
vLLM 0.32 on 4x RTX PRO 6000 (tensor parallel 4), Qwen3-235B-A22B-FP8, 64 concurrent agents, 128 GB host DRAM tier (32 GB per GPU) for both caches. Mean time to first token; sustained output tokens/s.

## Slide 3: Test setup
Hardware
4x NVIDIA RTX PRO 6000 Blackwell, 96 GB each
Intel Xeon Platinum 8559C (Emerald Rapids), 1 TB RAM
2x local NVMe for the disk tier
Software
vLLM 0.32.0, Qwen3-235B-A22B-FP8, tensor parallel 4
LMCache 0.5.6
LifeboatCache 0.1.23
Workload
Real agent sessions (SWE-bench Verified, GAIA, WildClawBench) replayed turn by turn
10 rounds per agent, 256 output tokens, 40,960-token context
Configurations
vLLM alone (GPU prefix cache)
vLLM + LMCache (host DRAM)
vLLM + LifeboatCache (host DRAM + NVMe)
DRAM tier: 64 to 512 GB per server
Every cell starts a fresh server with empty caches and sends the same requests and output lengths. DRAM is the whole server's host-RAM KV tier, the same for both caches. About 1% of requests (sessions longer than the context) are rejected identically in every configuration.

## Slide 4: 64 agents at 128 GB DRAM: LifeboatCache leads
Chart: Mean time to first token (s), lower is better
| vLLM alone | + LMCache | + LifeboatCache
Mean time to first token (s) | 26.7 | 17.1 | 9.1
Chart: Output tokens/s, higher is better
| vLLM alone | + LMCache | + LifeboatCache
Output tokens/s | 94 | 148 | 219
p99 time to first token: vLLM alone 71 s, + LMCache 52 s, + LifeboatCache 26 s. Share of prompt tokens served from cache: 12%, 53%, 75%.

## Slide 5: Performance by host DRAM size
Chart: Output tokens/s at 64 agents, by host DRAM
| 64 GB | 128 GB | 256 GB
vLLM + LMCache | 104 | 148 | 217
vLLM + LifeboatCache | 219 | 219 | 220
Chart: Mean time to first token (s) at 64 agents
| 64 GB | 128 GB | 256 GB
vLLM + LMCache | 24.8 | 17.1 | 10
vLLM + LifeboatCache | 9.2 | 9.1 | 9.1
vLLM alone, for reference: 94 tok/s and 26.7 s. DRAM is per server (four GPUs): 64 GB (16 GB/GPU), 128 GB (32 GB/GPU), 256 GB (64 GB/GPU). At 512 GB (over half of this server's 1 TB of RAM) vLLM 0.32 could not pin its CPU offload tier and LifeboatCache ran slower there; a fix is in progress.

## Slide 6: 128 agents: 3.0x the throughput of vLLM alone
Chart: Mean time to first token (s), lower is better
| vLLM alone | + LMCache | + LifeboatCache
Mean time to first token (s) | 137.5 | 113.5 | 42.7
Chart: Output tokens/s, higher is better
| vLLM alone | + LMCache | + LifeboatCache
Output tokens/s | 70 | 87 | 208
128 GB of host DRAM for both caches; LifeboatCache's NVMe tier sized at 2 TB on the server's local NVMe. Share of prompt tokens served from cache: vLLM alone 1%, + LMCache 24%, + LifeboatCache 79%. With a 250 GB NVMe tier, too small for 128 agents' KV on this model, LifeboatCache gave 80.3 s / 119 tok/s.

## Slide 7: Up to 3.0x more output tokens per joule
Chart: GPU energy efficiency (output tokens per joule), higher is better
| 64 agents | 128 agents
vLLM alone | 0.071 | 0.053
vLLM + LMCache | 0.113 | 0.065
vLLM + LifeboatCache | 0.171 | 0.159
Recomputing evicted context burns GPU energy without producing tokens.
64 agents: 2.4x vLLM alone, 1.5x LMCache. 128 agents: 3.0x vLLM alone, 2.4x LMCache.
GPU energy from nvidia-smi over each run (CPU package energy was not readable on this cloud server). 128 GB host DRAM for both caches; LifeboatCache at 128 agents with its 2 TB NVMe tier.

## Slide 8: Latency stays low as agent sessions grow
Chart: Mean time to first token in the last round (s), lower is better
| 64 agents | 128 agents
vLLM alone | 29.5 | 182.9
vLLM + LMCache | 20.2 | 154.2
vLLM + LifeboatCache | 8.9 | 45.4
64 agents, round 1 → round 10: vLLM alone 2.1 → 29.5 s; LMCache 2.0 → 20.2 s; LifeboatCache 2.1 → 8.9 s.
128 agents, round 1 → round 10: vLLM alone 10.7 → 182.9 s; LMCache 10.8 → 154.2 s; LifeboatCache 10.8 → 45.4 s.
Every agent starts at round 1 at the same time, so round 1 is equal across configurations; each later round re-sends a longer conversation. Without offload, evicted context is recomputed every round.

## Slide 9: More agents within a latency target, work done sooner
p99 time to first token | vLLM alone | vLLM + LMCache | vLLM + LifeboatCache
within 30 s | 32 agents | 32 agents | 64 agents
within 60 s | 32 agents | 64 agents | 64 agents
within 300 s | 128 agents | 128 agents | 128 agents
wall-clock, 640 requests (64 agents) | 12.9 min | 8.1 min | 5.5 min
wall-clock, 1280 requests (128 agents) | 34.8 min | 28.3 min | 11.8 min
Most agents among those tested (32, 64, 128) whose p99 time to first token met the target. Wall-clock: time to finish the same requests. 128 GB host DRAM; LifeboatCache at 128 agents with its 2 TB NVMe tier.

## Slide 10: Long agent sessions at 256 and 512 agents
223 tok/s
256 agents
158 s mean TTFT, 89% from cache
122 tok/s
512 agents
598 s mean TTFT, 90% from cache
99.9%
requests completed
12,789 of 12,800 at 512 agents; the rest exceeded the context
25 rounds per agent session and up to 512 output tokens per round, the setting used in industry agentic offload studies: sessions grow to tens of thousands of tokens, far beyond what four GPUs hold. LifeboatCache served about 90% of every prompt from its DRAM and NVMe tiers at both loads.
Qwen3-235B-A22B-FP8 on 4x RTX PRO 6000, vLLM 0.32, LifeboatCache 0.1.23 with 256 GB host DRAM and a 3 TB NVMe tier; 40,192-token context. Mean time to first token includes queueing: 256 to 512 agents share four GPUs.

## Slide 11: Under sustained load, LifeboatCache keeps its cache hits
Chart: Prompt tokens served from DRAM / NVMe (%)
| 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90
vLLM + LMCache (DRAM + NVMe) | 1 | 57 | 83 | 86 | 89 | 91 | 91 | 89 | 85 | 81 | 77 | 74 | 70 | 65 | 59 | 55 | 51 | 47 | 47
vLLM + LifeboatCache | 1 | 57 | 81 | 84 | 87 | 91 | 92 | 92 | 92 | 91 | 91 | 92 | 91 | 92 | 93 | 94
Chart: Generation throughput (tok/s)
| 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90
vLLM + LMCache (DRAM + NVMe) | 119 | 258 | 233 | 240 | 259 | 259 | 228 | 171 | 149 | 137 | 113 | 110 | 89 | 61 | 45 | 54 | 54 | 45 | 52
vLLM + LifeboatCache | 122 | 258 | 227 | 231 | 251 | 273 | 256 | 232 | 208 | 221 | 226 | 188 | 217 | 234 | 198 | 200
256 agents, same server and settings. LMCache 0.5.6 with 512 GB DRAM + NVMe evicted entries from its DRAM tier while they were being loaded (1,761 missing-key events in 90 minutes); its share of cached prompt tokens fell from 91% to 47% and the run did not complete. LifeboatCache stayed at 91–94% to the end.

## Slide 12: More DRAM, more throughput: +12% from 64 to 256 GB
Chart: Output tokens/s, 256 agents
| 64 GB DRAM | 256 GB DRAM
Output tok/s | 199 | 223
Chart: Mean time to first token (s)
| 64 GB DRAM | 256 GB DRAM
Mean TTFT (s) | 178 | 158
LifeboatCache with its NVMe tier in both runs; DRAM is the host-RAM tier for the whole server. Share of prompt tokens from cache 85% at 64 GB, 89% at 256 GB.

## Slide 13: gpt-oss-20b on one GPU: 23% lower TTFT at 256 agents
Chart: Mean time to first token (s), lower is better
| 128 agents | 256 agents
vLLM alone | 0.5 | 70.7
+ LMCache | 0.6 | 68.7
+ LifeboatCache | 0.4 | 54.4
Chart: Output tokens per joule (GPU), higher is better
| 128 agents | 256 agents
vLLM alone | 1.9 | 0.57
+ LMCache | 1.95 | 0.58
+ LifeboatCache | 2.55 | 0.74
One RTX PRO 6000, gpt-oss-20b (MXFP4), 128,000-token context, 25 rounds per agent, up to 512 output tokens per round; 24 GB host DRAM for both caches. Throughput and cached share (vLLM alone / + LMCache / + LifeboatCache): 128 agents 1117 / 1144 / 1425 tok/s, cached 80% / 82% / 89%; 256 agents 342 / 349 / 349 tok/s, cached 7% / 9% / 40%.

## Slide 14: 32 agents: no overhead when the GPUs hold the sessions
0.90 s
vLLM alone
204 output tok/s
1.10 s
vLLM + LMCache
206 output tok/s
0.94 s
vLLM + LifeboatCache
204 output tok/s
With 32 agents most sessions still fit in GPU memory, so all three configurations perform about the same: the offload tier is there for when load grows, without slowing the common case.
Mean time to first token shown; 128 GB DRAM tier for both caches.

## Slide 15: The same result on one GPU and on four
64 agents | vLLM alone | vLLM + LMCache | vLLM + LifeboatCache | LifeboatCache vs vLLM
1x RTX PRO 6000 Qwen3-30B-A3B, 32 GB DRAM | 25.4 s / 180 tok/s | 21.8 s / 211 tok/s | 13.0 s / 323 tok/s | 1.8x throughput
4x RTX PRO 6000 Qwen3-235B-A22B, 128 GB DRAM | 26.7 s / 94 tok/s | 17.1 s / 148 tok/s | 9.1 s / 219 tok/s | 2.3x throughput
Each cell: mean time to first token / output tokens per second. Same workload, settings and software versions on both systems; DRAM is 32 GB per GPU in both.

## Slide 16: Repeated runs agree
64 agents, 128 GB | Run 1 | Run 2
vLLM + LMCache | 17.1 s / 148 tok/s | 17.0 s / 146 tok/s
vLLM + LifeboatCache | 9.1 s / 219 tok/s | 9.2 s / 219 tok/s
Each cell: mean time to first token / output tokens per second. Each run starts a fresh server with empty caches.

## Slide 17: Less DRAM, less performance; more DRAM, better performance
Achieved just with LifeboatCache on top of vLLM, SGLang or Lifeboat.